## Sheet1_1
Grid Results HRAM Full Scan AIF Batch Report
Sample Name | Raw File Name | Compound Name | Compound Type | Database Name | Confirm | PK Flag | IP Flag | LS Flag | FI Flag | Formula | Adduct | m/z (Expected) | m/z (Apex) | m/z (Delta) | Fragment 1 m/z (Expected) | Fragment 1 m/z (Apex) | Fragment 1 m/z (Delta) | Fragment 2 m/z (Expected) | Fragment 2 m/z (Apex) | Fragment 2 m/z (Delta) | Fragment 3 m/z (Expected) | Fragment 3 m/z (Apex) | Fragment 3 m/z (Delta) | Expected RT | Actual RT | RT Delta | Relative RT | Isotope Pattern Score (%) | Num Isotopes Matched | Lib Match Name | SI | RSI | Library Prob (%) | Height | Area | Calculated Amount | Concentration Units | ISTD Amount | Response Ratio | ISTD Response | Concentration Response Factor
Additivies01 | 031716_01ppm | Tinuvin 327 NEG | Internal Standard | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C20H24ClN3O | M-H | 356.1535 | 356.1522 | -3.7887 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.81 | 10.8 | -0.007292 | N/A | 63.2805 | 4 of 7 | N/A | N/A | N/A | N/A | 11193721.3787 | 108011196.4688 | N/A | ppm | N/A | N/A | N/A | N/A
Additivies01 | 031716_01ppm | Tinuvin 327 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  | Pass | C20H24ClN3O | M+H | 358.1681 | 358.1683 | 0.7398 | 302.1044 | 302.1053 | 3.1336 | 246.042 | 246.0426 | 2.5109 | 286.0732 | 286.0724 | -2.9811 | 10.82 | 10.79 | -0.029771 | N/A | 100 | 5 of 7 | N/A | N/A | N/A | N/A | 359348065.2948 | 3397066315.2101 | 31.451 | ppm | N/A | 31.451 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q*Tetramethylthiuram monosulfide P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C4H9ONS | M+H | 120.0478 | 120.0481 | 2.9235 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 3.93 | 3.91 | -0.015626 | N/A | 92.7082 | 3 of 4 | N/A | N/A | N/A | N/A | 96491.5713 | 1942699.7842 | 0.018 | ppm | N/A | 0.018 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 2-Mercaptobenzothiazole NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H5NS2 | M-H | 165.9791 | 165.9783 | -4.7507 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 4.97 | 5.12 | 0.15388 | N/A | 42.2986 | 2 of 5 | N/A | N/A | N/A | N/A | 402910.5039 | 9271427.4611 | 0.086 | ppm | N/A | 0.086 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2-Mercaptobenzothiazole NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H5NS | M-H | 134.007 | 134.0065 | -3.7686 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 4.97 | 4.91 | -0.056582 | N/A | 72.3519 | 5 of 7 | N/A | N/A | N/A | N/A | 147620.6918 | 2606546.2761 | 0.024 | ppm | N/A | 0.024 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 2-Mercaptobenzothiazole POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H5NS2 | M+H | 167.9936 | 167.9937 | 0.7375 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 4.98 | 5.16 | 0.18162 | N/A | 100 | 5 of 8 | N/A | N/A | N/A | N/A | 1930845.1091 | 43380209.2236 | 0.402 | ppm | N/A | 0.402 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2-Mercaptobenzothiazole POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H5NS | M+H | 136.0216 | 136.0217 | 0.8637 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 4.98 | 4.93 | -0.05429 | N/A | 100 | 7 of 13 | N/A | N/A | N/A | N/A | 20907468.1114 | 360639851.4333 | 3.339 | ppm | N/A | 3.339 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*2-(2-Hydroxyethylthio)benzothiazole NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H5NS2 | M-H | 165.9791 | 165.9783 | -4.7507 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 5.6 | 5.12 | -0.47612 | N/A | 42.2986 | 2 of 5 | N/A | N/A | N/A | N/A | 402910.5039 | 9271427.4611 | 0.086 | ppm | N/A | 0.086 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2-(2-Hydroxyethylthio)benzothiazole POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H5NS2 | M+H | 167.9936 | 167.9937 | 0.7375 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 5.6 | 5.16 | -0.43838 | N/A | 100 | 5 of 8 | N/A | N/A | N/A | N/A | 1930845.1091 | 43380209.2236 | 0.402 | ppm | N/A | 0.402 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*C13H23NO2 @ RT 6.00 (TE140342) | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C13H23NO2 | M+H | 226.1802 | 226.1802 | 0.1372 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6 | 6.1 | 0.096737 | N/A | 100 | 2 of 3 | N/A | N/A | N/A | N/A | 179314.4667 | 4100691.7804 | 0.038 | ppm | N/A | 0.038 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*C13H23O2N @ RT 6.01 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C13H23O2N | M+H | 226.1802 | 226.1802 | 0.1372 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.01 | 6.1 | 0.086737 | N/A | 100 | 2 of 3 | N/A | N/A | N/A | N/A | 179314.4667 | 4100691.7804 | 0.038 | ppm | N/A | 0.038 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 2-Ethylhexanoic acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C8H16O2 | M-H | 143.1078 | 143.1071 | -4.6386 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.28 | 6.65 | 0.3679 | N/A | 54.0519 | 2 of 4 | N/A | N/A | N/A | N/A | 119700.5745 | 2876539.856 | 0.027 | ppm | N/A | 0.027 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 2-Propylpentanoic acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C8H16O2 | M-H | 143.1078 | 143.1071 | -4.6386 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.33 | 6.65 | 0.3179 | N/A | 54.0519 | 2 of 4 | N/A | N/A | N/A | N/A | 119700.5745 | 2876539.856 | 0.027 | ppm | N/A | 0.027 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Benzophenone POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C13H10O | M+H | 183.0804 | 183.0807 | 1.1905 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.43 | 6.52 | 0.0899 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 1126165.1062 | 20062352.2221 | 0.186 | ppm | N/A | 0.186 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 2-(Methylthio)benzothiazole POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C8H7NS2 | M+H | 182.0093 | 182.0094 | 0.9625 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.48 | 6.6 | 0.12325 | N/A | 100 | 3 of 5 | N/A | N/A | N/A | N/A | 141081.5119 | 4183372.7905 | 0.039 | ppm | N/A | 0.039 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Octanoic Acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C8H16O2 | M-H | 143.1078 | 143.1071 | -4.6386 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.55 | 6.65 | 0.097902 | N/A | 54.0519 | 2 of 4 | N/A | N/A | N/A | N/A | 119700.5745 | 2876539.856 | 0.027 | ppm | N/A | 0.027 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Diphenylamine POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C12H11N | M+H | 170.0964 | 170.0965 | 0.5709 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.73 | 6.83 | 0.099294 | N/A | 89.7461 | 2 of 4 | N/A | N/A | N/A | N/A | 537519.0917 | 8607391.6585 | 0.08 | ppm | N/A | 0.08 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*Related to 9;10-Dihydro-9;9-dimethylacridine - C12H11N @ 6.749min POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C12H11N | M+H | 170.0964 | 170.0965 | 0.5709 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.75 | 6.83 | 0.079294 | N/A | 89.7461 | 2 of 4 | N/A | N/A | N/A | N/A | 537519.0917 | 8607391.6585 | 0.08 | ppm | N/A | 0.08 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*Related to 9;10-Dihydro-9;9-dimethylacridine - C12H11N @ 6.749min NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C12H11N | M-H | 168.0819 | 168.0811 | -4.3968 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 6.77 | 6.82 | 0.04594 | N/A | 12.3987 | 1 of 2 | N/A | N/A | N/A | N/A | 16283.6537 | 219854.3267 | 0.002 | ppm | N/A | 0.002 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*3;5-Di-tert-butyl-1;2-benzoquinone POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H21O2 | M+H | 222.1614 | 222.1619 | 1.9591 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.03 | 7.11 | 0.082805 | N/A | 0 | 1 of 2 | N/A | N/A | N/A | N/A | 13166.2411 | 207670.7028 | 0.002 | ppm | N/A | 0.002 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Diisobutyl phthalate POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C16H22O4 | M+H | 279.1591 | 279.1593 | 0.7586 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.48 | 7.65 | 0.16804 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 753845.2223 | 12654062.0202 | 0.117 | ppm | N/A | 0.117 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*Related to 9;10-Dihydro-9;9-dimethylacridine - C15H17N @ 7.792min POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H17N | M+H | 212.1434 | 212.1436 | 0.9673 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.79 | 7.93 | 0.14048 | N/A | 14.0844 | 1 of 3 | N/A | N/A | N/A | N/A | 89188.7437 | 1188911.3432 | 0.011 | ppm | N/A | 0.011 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Dimethyl-Bisphenol A POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C8H8O | M+H | 121.0648 | 121.0651 | 2.8261 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.83 | 8.04 | 0.20895 | N/A | 98.4009 | 4 of 5 | N/A | N/A | N/A | N/A | 1802359.6231 | 32659980.6353 | 0.302 | ppm | N/A | 0.302 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q*Tetraethylene glycol dimethacrylate P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H28O3 | M+H | 257.2111 | 257.2111 | -0.1163 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.86 | 7.73 | -0.12681 | N/A | 100 | 2 of 2 | N/A | N/A | N/A | N/A | 56219.1674 | 2697248.792 | 0.025 | ppm | N/A | 0.025 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2;5-Di-tert-butyl-4-methoxyphenol POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H20O2 | M+H | 221.1536 | 221.1537 | 0.484 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.86 | 8.12 | 0.2605 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 723688.5518 | 9246346.5659 | 0.086 | ppm | N/A | 0.086 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2;5-Di-tert-butyl-4-methoxyphenol NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H21O2 | M-H | 220.1469 | 220.1459 | -4.5003 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.88 | 8.14 | 0.25717 | N/A | 57.8301 | 2 of 3 | N/A | N/A | N/A | N/A | 151965.1532 | 1967976.0967 | 0.018 | ppm | N/A | 0.018 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 3-(3;5-Di-tert-butyl-4-hydroxy-phenyl)propionic acid methyl ester NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H28O3 | M-H | 291.1966 | 291.1955 | -3.7944 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.9 | 7.94 | 0.044972 | N/A | 75.9386 | 3 of 3 | N/A | N/A | N/A | N/A | 28844.9524 | 282271.2916 | 0.003 | ppm | N/A | 0.003 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Irganox 245 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C12H14O3 | M+H | 207.1016 | 207.1017 | 0.6269 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.92 | 8.04 | 0.11895 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 5427003.5801 | 50499165.3224 | 0.468 | ppm | N/A | 0.468 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q3*Irganox 245 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C8H8O | M+H | 121.0648 | 121.0651 | 2.8261 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.92 | 8.04 | 0.11895 | N/A | 98.4009 | 4 of 5 | N/A | N/A | N/A | N/A | 1802359.6231 | 32659980.6353 | 0.302 | ppm | N/A | 0.302 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q4*Irganox 245 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C16H22O3 | M+H | 263.1642 | 263.1643 | 0.4033 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.92 | 8.04 | 0.11895 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 6505748.6234 | 60209172.7458 | 0.557 | ppm | N/A | 0.557 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2;6-Di-tert-butyl-4-ethoxymethyl-phenol NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H24O | M-H | 219.1754 | 219.1744 | -4.5695 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.92 | 8.42 | 0.49716 | N/A | 58.1985 | 2 of 4 | N/A | N/A | N/A | N/A | 1697884.1622 | 16631172.296 | 0.154 | ppm | N/A | 0.154 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Irganox 245 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C34H50O8 | M-H | 585.3433 | 585.3409 | -4.1149 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 7.93 | 8.03 | 0.096855 | N/A | 68.937 | 5 of 5 | N/A | N/A | N/A | N/A | 705855.911 | 6561967.1461 | 0.061 | ppm | N/A | 0.061 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ*Irgnx245 Degr(C34H48O8)@8.032 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H16O2 | M+H | 217.1223 | 217.1224 | 0.5827 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.03 | 8.43 | 0.39935 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 3606289.7476 | 32837577.8241 | 0.304 | ppm | N/A | 0.304 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2;6-di-tert-butylphenol NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C13H18O | M-H | 189.1285 | 189.1277 | -4.2535 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.07 | 8.44 | 0.37386 | N/A | 63.2881 | 2 of 3 | N/A | N/A | N/A | N/A | 36793.3277 | 847207.1417 | 0.008 | ppm | N/A | 0.008 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*2;6-di-tert-butylphenol POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C13H18O | M+H | 191.143 | 191.1431 | 0.5373 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.08 | 8.43 | 0.34935 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 1080484.9701 | 22264116.4202 | 0.206 | ppm | N/A | 0.206 | 108011196.469 | 1
Additivies01 | 031716_01ppm | BHT NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H24O | M-H | 219.1754 | 219.1744 | -4.5695 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.37 | 8.42 | 0.047161 | N/A | 58.1985 | 2 of 4 | N/A | N/A | N/A | N/A | 1697884.1622 | 16631172.296 | 0.154 | ppm | N/A | 0.154 | 108011196.469 | 1
Additivies01 | 031716_01ppm | 2;2'-Dibenzothiazolyl Disulfide POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H8N2S4 | M+H | 332.9643 | 332.9641 | -0.6883 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.28 | 8.4 | 0.12264 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 80445.8455 | 880664.0509 | 0.008 | ppm | N/A | 0.008 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Hostanox 03 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C50H66O8 | M-H | 793.4685 | 793.4652 | -4.1338 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.32 | 8.42 | 0.097161 | N/A | 69.8599 | 5 of 5 | N/A | N/A | N/A | N/A | 225611.5006 | 1903986.4175 | 0.018 | ppm | N/A | 0.018 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Hostanox 03 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H16O2 | M+H | 217.1223 | 217.1224 | 0.5827 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.33 | 8.43 | 0.099349 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 3606289.7476 | 32837577.8241 | 0.304 | ppm | N/A | 0.304 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Hostanox 03 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C22H28O2 | M+H | 325.2162 | 325.2162 | 0.0217 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.33 | 8.43 | 0.099349 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 6557523.82 | 66333644.4349 | 0.614 | ppm | N/A | 0.614 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q3*Hostanox 03 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C10H8O2 | M+H | 161.0597 | 161.0598 | 0.6485 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.33 | 8.43 | 0.099349 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 1055359.2593 | 10575701.3632 | 0.098 | ppm | N/A | 0.098 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T2*Impurity related to 4-(tert-butyl)-phenyl phenyl ether N- | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C10H14O | M-H | 149.0972 | 149.0965 | -4.8555 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.4 | 8.44 | 0.043855 | N/A | 53.7398 | 2 of 2 | N/A | N/A | N/A | N/A | 34676.1116 | 325128.1139 | 0.003 | ppm | N/A | 0.003 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T* amide (C18H33ON)@8.50 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H33ON | M+H | 280.2635 | 280.2636 | 0.5401 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.49 | 8.65 | 0.16151 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 699779.6934 | 10826665.7164 | 0.1 | ppm | N/A | 0.1 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Triethylene glycol monododecyl ether P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H38O4 | M+H | 319.2843 | 319.2842 | -0.2499 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.49 | 8.6 | 0.10646 | N/A | 100 | 2 of 2 | N/A | N/A | N/A | N/A | 19149.6599 | 195441.9196 | 0.002 | ppm | N/A | 0.002 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*3;5-Di-tert-butyl-2-hydroxybenzaldehyde NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H24O | M-H | 219.1754 | 219.1744 | -4.5695 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.54 | 8.42 | -0.12284 | N/A | 58.1985 | 2 of 4 | N/A | N/A | N/A | N/A | 1697884.1622 | 16631172.296 | 0.154 | ppm | N/A | 0.154 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ2*Related to 2;5-Bis(2-methyl-2-butanyl)-1;4-benzenediol - @ 8.562min NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C16H25O2 | M-H | 248.1782 | 248.1771 | -4.4394 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.56 | 8.58 | 0.023453 | N/A | 0 | 1 of 2 | N/A | N/A | N/A | N/A | 3936.2125 | 51093.8318 | 0 | ppm | N/A | 0 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Antioxidant 2246 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C23H32O2 | M-H | 339.233 | 339.2314 | -4.4356 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.63 | 8.75 | 0.11997 | N/A | 61.3699 | 4 of 4 | N/A | N/A | N/A | N/A | 870659.0181 | 8048344.5326 | 0.075 | ppm | N/A | 0.075 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Antioxidant 2246 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C11H16O | M-H | 163.1128 | 163.1121 | -4.4044 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.63 | 8.75 | 0.11997 | N/A | 62.997 | 3 of 4 | N/A | N/A | N/A | N/A | 162657.58 | 1699426.3333 | 0.016 | ppm | N/A | 0.016 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Antioxidant 2246 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C12H16O | M+H | 177.1274 | 177.1275 | 0.4625 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.64 | 8.76 | 0.12221 | N/A | 100 | 4 of 5 | N/A | N/A | N/A | N/A | 16712638.3603 | 192462769.6921 | 1.782 | ppm | N/A | 1.782 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*2;4;6-Tri-tert-butylphenol POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H23O | M+H | 220.1822 | 220.1822 | 0.2292 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.69 | 8.4 | -0.28736 | N/A | 100 | 2 of 2 | N/A | N/A | N/A | N/A | 107952.5017 | 1713015.7354 | 0.016 | ppm | N/A | 0.016 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Palmitamide POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C16H33NO | M+H | 256.2635 | 256.2635 | 0.1143 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.69 | 8.82 | 0.12623 | N/A | 100 | 3 of 5 | N/A | N/A | N/A | N/A | 1285255.6719 | 14757340.59 | 0.137 | ppm | N/A | 0.137 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Myristic Acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H28O2 | M-H | 227.2017 | 227.2007 | -4.3878 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.74 | 8.86 | 0.11806 | N/A | 59.4894 | 1 of 4 | N/A | N/A | N/A | N/A | 563434.81 | 6994086.4238 | 0.065 | ppm | N/A | 0.065 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Oleamide POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H35NO | M+H | 282.2791 | 282.2793 | 0.5557 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.77 | 8.92 | 0.15193 | N/A | 100 | 4 of 5 | N/A | N/A | N/A | N/A | 131834805.6822 | 1200505118.7948 | 11.115 | ppm | N/A | 11.115 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Oleamide NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H35NO | M-H | 280.2646 | 280.2634 | -4.3648 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.79 | 8.94 | 0.14642 | N/A | 63.58 | 4 of 4 | N/A | N/A | N/A | N/A | 1226300.8567 | 11168072.1967 | 0.103 | ppm | N/A | 0.103 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Cyanox 425 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C13H18O | M+H | 191.143 | 191.1431 | 0.5373 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.89 | 8.43 | -0.46065 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 1080484.9701 | 22264116.4202 | 0.206 | ppm | N/A | 0.206 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Cyanox 425 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C12H18O | M-H | 177.1285 | 177.1277 | -4.1971 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 8.91 | 8.78 | -0.1333 | N/A | 64.5637 | 1 of 2 | N/A | N/A | N/A | N/A | 29028.2236 | 306326.2993 | 0.003 | ppm | N/A | 0.003 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Linoleic Acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H32O2 | M-H | 279.233 | 279.2318 | -4.1864 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.09 | 9.12 | 0.03453 | N/A | 64.6024 | 3 of 3 | N/A | N/A | N/A | N/A | 57522.3387 | 821490.1339 | 0.008 | ppm | N/A | 0.008 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Stearamide POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H37NO | M+H | 284.2948 | 284.2949 | 0.3565 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.19 | 9.27 | 0.084301 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 1479801.1934 | 16163390.6292 | 0.15 | ppm | N/A | 0.15 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Palmitic Acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C16H32O2 | M-H | 255.233 | 255.2319 | -4.2812 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.26 | 9.37 | 0.11221 | N/A | 64.8652 | 3 of 4 | N/A | N/A | N/A | N/A | 645002.7489 | 9023209.0349 | 0.084 | ppm | N/A | 0.084 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Oleic Acid POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H32O | M+H | 265.2526 | 265.2528 | 0.8204 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.36 | 8.92 | -0.43807 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 3409542.1124 | 65546309.4242 | 0.607 | ppm | N/A | 0.607 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Oleic Acid POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H30 | M+H | 247.242 | 247.2421 | 0.4519 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.36 | 8.92 | -0.43807 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 917264.8335 | 14557558.6484 | 0.135 | ppm | N/A | 0.135 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Oleic Acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H34O2 | M-H | 281.2486 | 281.2474 | -4.3538 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.37 | 9.46 | 0.085352 | N/A | 63.6001 | 3 of 4 | N/A | N/A | N/A | N/A | 386759.9471 | 4710180.1745 | 0.044 | ppm | N/A | 0.044 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ*Irgnx1010 Degr(C56H84O10)@9.480 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C31H42O7 | M+H | 527.3003 | 527.3002 | -0.186 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.48 | 9.47 | -0.012034 | N/A | 100 | 2 of 2 | N/A | N/A | N/A | N/A | 16097.9943 | 137650.1855 | 0.001 | ppm | N/A | 0.001 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q5*Irganox 259 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H22O | M+H | 219.1743 | 219.1744 | 0.4493 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.48 | 9.74 | 0.25969 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 43114521.6029 | 466419791.2074 | 4.318 | ppm | N/A | 4.318 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ2*Related to 3;3';5;5'-Tetratert-butyl-4;4'-stilbenequinone - @ 9.607min POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C26H36O2 | M+H | 381.2788 | 381.2793 | 1.277 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.61 | 9.74 | 0.12969 | N/A | 0 | 1 of 2 | N/A | N/A | N/A | N/A | 10394.5709 | 116576.2081 | 0.001 | ppm | N/A | 0.001 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Irganox 3114 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C33H47N3O5 | M-H | 564.3443 | 564.342 | -4.0933 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.76 | 9.73 | -0.033994 | N/A | 67.6998 | 5 of 5 | N/A | N/A | N/A | N/A | 1768666.7683 | 16280052.6418 | 0.151 | ppm | N/A | 0.151 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Irganox 3114 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H22O | M+H | 219.1743 | 219.1744 | 0.4493 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.77 | 9.74 | -0.030309 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 43114521.6029 | 466419791.2074 | 4.318 | ppm | N/A | 4.318 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Erucamide POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C22H43NO | M+H | 338.3417 | 338.3417 | -0.1025 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.83 | 9.87 | 0.040947 | N/A | 100 | 5 of 5 | N/A | N/A | N/A | N/A | 97401747.5271 | 896173169.6897 | 8.297 | ppm | N/A | 8.297 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ*2;6-Di-tert-4[(cyclopentylamino)methyl]phenol P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H22O | M+H | 219.1743 | 219.1744 | 0.4493 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.84 | 9.74 | -0.10031 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 43114521.6029 | 466419791.2074 | 4.318 | ppm | N/A | 4.318 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Erucamide NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C22H43NO | M-H | 336.3272 | 336.3259 | -3.9346 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.84 | 9.86 | 0.019506 | N/A | 73.1662 | 4 of 4 | N/A | N/A | N/A | N/A | 598999.685 | 5581166.6975 | 0.052 | ppm | N/A | 0.052 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Stearic Acid NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C18H36O2 | M-H | 283.2643 | 283.2631 | -4.0879 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.87 | 9.91 | 0.041562 | N/A | 69.3062 | 3 of 4 | N/A | N/A | N/A | N/A | 300573.4214 | 4033351.6338 | 0.037 | ppm | N/A | 0.037 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Diisononyl phthalate POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C26H42O4 | M+H | 419.3156 | 419.3157 | 0.2727 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 9.91 | 9.9 | -0.01293 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 253118.7865 | 4521588.8005 | 0.042 | ppm | N/A | 0.042 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Octyl Decyl Phthalate POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C26H42O4 | M+H | 419.3156 | 419.3157 | 0.2727 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.22 | 9.9 | -0.32293 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 253118.7865 | 4521588.8005 | 0.042 | ppm | N/A | 0.042 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Docosanamide NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C22H45NO | M-H | 338.3428 | 338.3414 | -4.3458 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.46 | 10.4 | -0.05639 | N/A | 51.0789 | 2 of 3 | N/A | N/A | N/A | N/A | 13016.4638 | 115418.8539 | 0.001 | ppm | N/A | 0.001 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Docosanamide POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C22H45NO | M+H | 340.3574 | 340.3575 | 0.273 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.47 | 10.42 | -0.053867 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 2870942.0441 | 26701071.852 | 0.247 | ppm | N/A | 0.247 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ1*Related to Irgafos PEPQ - C41H54O4P2 @ 10.590min NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H22O | M-H | 205.1598 | 205.1588 | -4.9086 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.59 | 10.8 | 0.21271 | N/A | 45.0294 | 1 of 3 | N/A | N/A | N/A | N/A | 115498.6201 | 1052469.6191 | 0.01 | ppm | N/A | 0.01 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Tinuvin 328 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C22H29N3O | M+H | 352.2383 | 352.2384 | 0.0931 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.69 | 10.69 | 9.2e-05 | N/A | 100 | 2 of 3 | N/A | N/A | N/A | N/A | 59963.3988 | 489900.6628 | 0.005 | ppm | N/A | 0.005 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Irganox 1010 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C73H108O12 | M-H | 1175.7768 | 1175.771 | -4.9362 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.95 | 10.78 | -0.17088 | N/A | 36.2941 | 2 of 5 | N/A | N/A | N/A | N/A | 16631.9785 | 104339.4938 | 0.001 | ppm | N/A | 0.001 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Irganox 1010 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C44H58O9 | M+H | 731.4154 | 731.4158 | 0.5626 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.96 | 10.77 | -0.19317 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 1622013.5653 | 13450403.655 | 0.125 | ppm | N/A | 0.125 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Irganox 1010 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C40H50O9 | M+H | 675.3528 | 675.3533 | 0.7574 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.96 | 10.77 | -0.19317 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 1367581.2519 | 11520909.5467 | 0.107 | ppm | N/A | 0.107 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q3*Irganox 1010 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C32H34O9 | M+H | 563.2276 | 563.2282 | 1.1549 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.96 | 10.77 | -0.19317 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 1360467.6177 | 12075207.5066 | 0.112 | ppm | N/A | 0.112 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q4*Irganox 1010 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C36H42O9 | M+H | 619.2902 | 619.2909 | 1.1845 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.96 | 10.77 | -0.19317 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 1094185.1768 | 9478356.7231 | 0.088 | ppm | N/A | 0.088 | 108011196.469 | 1
Additivies01 | 031716_01ppm | TQ2*Related to Irgafos PEPQ - C54H72O5P2 @ 10.959min NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C14H22O | M-H | 205.1598 | 205.1588 | -4.9086 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 10.98 | 10.8 | -0.17729 | N/A | 45.0294 | 1 of 3 | N/A | N/A | N/A | N/A | 115498.6201 | 1052469.6191 | 0.01 | ppm | N/A | 0.01 | 108011196.469 | 1
Additivies01 | 031716_01ppm | M*Tetracosanamide P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C24H49NO | M+H | 368.3887 | 368.3888 | 0.2822 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 11.24 | 11.17 | -0.072235 | N/A | 100 | 3 of 4 | N/A | N/A | N/A | N/A | 527353.6662 | 5114408.8727 | 0.047 | ppm | N/A | 0.047 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Irganox 1330 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C40H56O2 | M+H | 569.4353 | 569.4355 | 0.3088 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 11.76 | 11.41 | -0.35046 | N/A | 100 | 4 of 5 | N/A | N/A | N/A | N/A | 5778615.2543 | 56415990.2191 | 0.522 | ppm | N/A | 0.522 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Irganox 1330 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C15H22O | M+H | 219.1743 | 219.1745 | 0.5189 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 11.76 | 11.41 | -0.35046 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 13515946.4453 | 133833550.934 | 1.239 | ppm | N/A | 1.239 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Irganox 1330 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C54H78O3 | M-H | 773.5878 | 773.5844 | -4.4848 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 11.78 | 11.4 | -0.38231 | N/A | 62.0428 | 5 of 5 | N/A | N/A | N/A | N/A | 272325.369 | 2613276.5366 | 0.024 | ppm | N/A | 0.024 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Irgafos 168 oxidized NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C28H43O4P | M-H | 473.2826 | 473.2805 | -4.4422 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 11.86 | 11.61 | -0.24886 | N/A | 60.4343 | 4 of 5 | N/A | N/A | N/A | N/A | 1955094.7351 | 19054253.0362 | 0.176 | ppm | N/A | 0.176 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Irgafos 168 oxidized POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C42H63O4P | M+H | 663.4537 | 663.4536 | -0.0855 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 11.87 | 11.62 | -0.24686 | N/A | 100 | 5 of 6 | N/A | N/A | N/A | N/A | 8050786.6156 | 79050191.2637 | 0.732 | ppm | N/A | 0.732 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*EBS impurity(C34H68O2N2)@12.527 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C34H68O2N2 | M+H | 537.5354 | 537.5356 | 0.5293 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 12.53 | 12.32 | -0.20513 | N/A | 100 | 3 of 3 | N/A | N/A | N/A | N/A | 64432.8829 | 697998.0174 | 0.006 | ppm | N/A | 0.006 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*C29H48 @ RT 13.14 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C29H48 | M+H | 397.3829 | 397.3829 | 0.0605 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 13.14 | 12.85 | -0.29403 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 3145863.2014 | 35683433.7641 | 0.33 | ppm | N/A | 0.33 | 108011196.469 | 1
Additivies01 | 031716_01ppm | T*EBS impurity(C36H72O2N2)@13.786 P+ | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C36H72O2N2 | M+H | 565.5667 | 565.5671 | 0.7384 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 13.79 | 13.57 | -0.21689 | N/A | 82.0964 | 2 of 3 | N/A | N/A | N/A | N/A | 49818.5799 | 594351.1443 | 0.006 | ppm | N/A | 0.006 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Irganox 1076 NEG | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C35H62O3 | M-H | 529.4626 | 529.4603 | -4.4458 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 13.86 | 13.48 | -0.37967 | N/A | 59.8844 | 4 of 5 | N/A | N/A | N/A | N/A | 410656.4464 | 4414356.9608 | 0.041 | ppm | N/A | 0.041 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q1*Irganox 1076 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C27H46O3 | M+H | 419.352 | 419.352 | 0.1199 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 13.87 | 13.47 | -0.40416 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 2809353.8275 | 30914493.8828 | 0.286 | ppm | N/A | 0.286 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q2*Irganox 1076 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C7H6O | M+H | 107.0491 | 107.0496 | 4.6412 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 13.87 | 13.47 | -0.40416 | N/A | 54.5189 | 2 of 4 | N/A | N/A | N/A | N/A | 844691.5427 | 8948438.6065 | 0.083 | ppm | N/A | 0.083 | 108011196.469 | 1
Additivies01 | 031716_01ppm | Q3*Irganox 1076 POS | Target Compound | Tox_Ray_BR_2016.cdb | Confirmed | Pass | Pass |  |  | C31H54O3 | M+H | 475.4146 | 475.4148 | 0.5373 | N/S | N/A | N/A | N/S | N/A | N/A | N/S | N/A | N/A | 13.87 | 13.47 | -0.40416 | N/A | 100 | 4 of 4 | N/A | N/A | N/A | N/A | 1879756.07 | 20494973.6758 | 0.19 | ppm | N/A | 0.19 | 108011196.469 | 1